| # YOU ARE HEREBY INVITED TO SUBMIT A BID PROPOSAL FOR THE FOLLOWING TENDER |  |
| --- | --- |
| # BID NUMBER: | UMALUSI (25-26) T0004 |
| # DESCRIPTION OF BID: | APPOINTMENT OF A SERVICE PROVIDER FOR THE RENOVATIONS AND ALTERATIONS TO THE EXISTING UMALUSI HOUSE |
| # DATE OF ADVERTISING | 22 March 2026 |
| # COMPULSORY BRIEFING SESSION DATE AND TIME: | 09 April 2026 @10:00 precisely Join the meeting now |
| # CLOSING DATE: | 30 April 2026 |
| # CLOSING TIME: | 12:00 precisely Telkom time (Bidders will not be permitted to submit the proposals after the set time) |
| # CLOSING DATE FOR BID ENQUIRIES | 20 April 2026 12:00 precisely All enquiries must be directed to tenders@umalusi.org.za |
| # PERIOD FOR WHICH BID IS REQUIRED TO REMAIN OPEN FOR ACCEPTANCE: | 180 days (submissions must be valid for 180 days after the closing date) |
| # BID DOCUMENTS DELIVERY ADDRESS: | UMALUSI 41 GENERAL VAN RYNEVELD STREET PERSEQUOR TECHNOPARK PRETORIA |
| # NAME OF BIDDER: |  |
| # CONTACT PERSON: |  |
| # E-MAIL ADDRESS: |  |
| # TELEPHONE NUMBER: |  |
| # BIDDER’S STAMP OR SIGNATURE |  |

CHECKLIST OF COMPULSORY RETURNABLE SCHEDULES AND DOCUMENTS

Please adhere to the following instructions

- Tick in the relevant block below.

- Use the prescribed sequence in attaching the annexures when completing the Bid Document.

- Ensure that the following documents are completed and signed where applicable:

| YES | NO |  |
| --- | --- | --- |
|  |  | Original Bid and a Copy – (both hard copies clearly marked as either original and copy) and one Electronic Copy (USB) Important: Kindly note that every document that is submitted as part of the original submission, must be duly authorised with the required signatures or initials on each page. Failure to comply will result in the bid being noted as incomplete. |
|  |  | Part A: |
|  |  | Specifications, Conditions of BID and Undertakings by Bidder |
|  |  | Certificate of Authority for Joint Ventures |
|  |  | Annexure A: Statement of Works |
|  |  | Annexure B: SBD 1 - Invitation to Bid |
|  |  | Annexure C: SBD 3.3 – Pricing Schedule – Firm Prices (Purchases) |
|  |  | Annexure D: SBD 4 - Declaration of Interest |
|  |  | Annexure E: SBD 6.1 and B-BBEE status level certificate |
|  |  | Annexure F: General Conditions of Contract |
|  |  | Annexure G: Bidder’s Company Profile |

PART A:  SPECIFICATIONS, CONDITIONS OF BID AND UNDERTAKINGS BY BIDDER

- DEFINITIONS

In this Request for Proposals, unless a contrary intention is apparent:

  - B-BBEE means Broad-Based Black Economic Empowerment as defined in section 1 of the Broad-Based Black Economic Empowerment Act, 2003.

  - B-BBEE Act means the Broad-Based Black Economic Empowerment Act, 2003.

  - Business Day means a day which is not a Saturday, Sunday or public holiday.

  - Bid means a written offer in the prescribed or stipulated form lodged by a Bidder in response to an invitation in this Request for Proposal, containing an offer to provide goods, works or services in accordance with the Specification as provided in this Bid.

  - Bidder means a person or legal entity, or an unincorporated group of persons or legal entities that submits a Bid.

  - Bidding Process means the process commenced by the issuing of this Request for Proposals and concluding upon formal announcement by Umalusi of the selection of a successful Bidder(s) or upon the earlier termination of the process.

  - Companies Act means the Companies Act 71 of 2008, as amended.

  - Closing Time means the time, specified as such under the clause 3 (Bid Timetable), by which Bids must be received.

  - EME means an exempted micro enterprise in terms of a code of good practice on Black Economic Empowerment issued in terms of section 9(1) of the Broad-Based Black Economic Empowerment Act.

  - PFMA means the Public Finance Management Act 1 of 1999, as amended.

  - PPPFA means the Preferential Procurement Policy Framework Act 5 of 2000, as amended.

  - PPPFA Regulations means the Preferential Procurement Regulations 2022, published in terms of the PPPFA.

  - Proposed Contract means the agreement including any other terms and conditions contained in or referred to in this Bid that may be executed between Umalusi and the successful Bidder.

  - Request for Proposal or Bid means this document (comprising each of the parts identified under Part A and Part B) including all annexures and any other documents so designated by Umalusi.

  - SARS means the South African Revenue Service.

  - Services means the services required by Umalusi, as specified in this statement of works.

  - SLA means Service Level Agreement.

  - Specification means the conditions of bid set and any specification or description of Umalusi’s requirements contained in this Bid.

- SUPPLY CHAIN MANAGEMENT UNIT

  - All questions, queries and clarifications must be submitted to this e-mail address, tenders@umalusi.org.za.

  - Bid documents must be submitted as follows:

    - Original Bid and a Copy – (both hard copies clearly marked as original or copy) and

    - One Soft Copy (The USB must be enclosed in an envelope and clearly marked)

2.3	Canvassing of any Umalusi employee will result in an immediate disqualification of the bidder.

- BID TIMETABLE

The timetable below is provided as an indication of the timing of the bidding process.  It is indicative only and subject to change by Umalusi. Bidders are to provide proposals that will allow the achievement of the intended commencement date.

| Activity | Date |
| --- | --- |
| Advertisement of bid | 22 March 2026 |
| Bid document available | 23 March 2026 |
| Briefing session | 09 April 2026 |
| Closing date for bid enquiries | 20 April 2026 All enquiries must be directed to: tenders@umalusi.org.za |
| Publication of answers and clarifications on the Umalusi website | 23 April 2026 |
| Closing date and time | 30 April 2026 12h00 |

- SUBMISSION OF BIDS

  - Hard copies of bids are to be submitted to:

| Physical address of bid box | UMALUSI 41 GENERAL VAN RYNEVELD STREET PERSEQUOR TECHNOPARK PRETORIA |
| --- | --- |
| Hours of access to bid box | Monday to Friday: 08:00 to 16:00 |
| Information to be marked on package containing bid | Umalusi Supply Chain Management Unit BID Ref. UMALUSI (25-26) T0004 |

4.2	Important: Kindly note that every document that is submitted as part of the original submission (both original bid and a copy) must be duly authorised with the authorised signature or initials on each page.

- STATUS OF REQUEST FOR PROPOSAL

  - This bid is an invitation for person(s) / company(s) to submit a proposal(s) for the provision of the services as set out in the scope contained in this bid.  Accordingly, this bid must not be construed, interpreted, or relied upon, whether expressly or implicitly, as an offer capable of acceptance by any person(s) / companies, or as creating any form of contractual, promissory or other rights.  No binding contract or other understanding for the supply of services will exist between Umalusi and any bidder unless and until Umalusi has executed a formal written contract with the successful bidder.

- ACCURACY OF REQUEST FOR PROPOSAL

  - Whilst all due care has been taken in connection with the preparation of this bid,  Umalusi makes no representations or warranties that the content in this bid or any information communicated or provided to bidders during the bidding process is, or will be, accurate, current or complete.  Umalusi, and its officers and employees will not be liable with respect to any information communicated that is not accurate, current or complete.

  - If a bidder finds or reasonably believes it has found any discrepancy, ambiguity, error or inconsistency in this bid or any other information provided by Umalusi , the bidder must promptly notify Umalusi in writing of such discrepancy, ambiguity, error or inconsistency in order to afford Umalusi an opportunity to consider what corrective action is necessary (if any).

  - Any actual discrepancy, ambiguity, error or inconsistency in this bid or any other information provided by Umalusi will, if possible, be corrected and provided to all bidders without attribution to the bidder who provided the written notice.

- ADDITIONS AND AMENDMENTS TO THE BID

  - Umalusi reserves the right to change any information in, or to issue any addendum to, this bid before the closing time. Umalusi and its officers or employees will not be liable in connection with either the exercise of, or failure to exercise, this right.

- REPRESENTATIONS

No representations made by or on behalf of Umalusi in relation to this bid will be binding on Umalusi unless that representation is expressly incorporated into the contract ultimately entered into between Umalusi and the successful bidder.

- CONFIDENTIALITY

  - The information contained in this document is of a confidential nature and must only be used for purposes of responding to this bid. This confidentiality clause extends to suppliers, partners and/or implementation agents, whom you may decide to involve in preparing a response to this bid.

  - For purposes of this process, the term “Confidential Information” shall include all technical and business information, including, without limiting the generality of the foregoing, all secret knowledge and information (including any and all financial, commercial, market, technical, functional and scientific information, and information relating to a party’s strategic objectives and planning and its past, present and future research and development), technical, functional and scientific requirements and specifications, data concerning business relationships, demonstrations, processes, machinery, know-how, architectural information, information contained in a party’s software and associated material and documentation, plans, designs and drawings and all material of whatever description, whether subject to or protected by copyright, patent or trademark, registered or unregistered, or otherwise disclosed or communicated before or after the date of this process.

  - The receiving party shall not, during the period of validity of this process, or at any time thereafter, use or disclose, directly or indirectly, the confidential information of Umalusi (even if received before the date of this process) to any person whether in the employment of the receiving party or not, who does not take part in the performance of this process.

  - The receiving party shall take all such steps as may be reasonably necessary to prevent Umalusi’s confidential information coming into the possession of unauthorised third parties.  In protecting the receiving party’s confidential information, Umalusi shall use the same degree of care, but no less than a reasonable degree of care, to prevent the unauthorised use or disclosure of the confidential information as the receiving party uses to protect its own confidential information.

  - Any documentation, software or records relating to confidential information of  Umalusi, which comes into the possession of the receiving party during the period of validity of this process or at any time thereafter or which has come into its possession before the period of validity of this process, shall:

    - be deemed to form part of the confidential information of  Umalusi;

    - be deemed to be the property of Umalusi;

    - not be copied, reproduced, published or circulated by the receiving party unless and to the extent that such copying is necessary for the performance of this process and all other processes as contemplated herein; and

    - be surrendered to Umalusi on demand, and the receiving party shall not retain any extracts.

- REQUESTS FOR CLARIFICATION OR FURTHER INFORMATION

  - All communications relating to this bid and the bidding process must be directed to tenders@umalusi.org.za .

  - Any communication by a bidder to Umalusi will be effective upon receipt by the Supply Chain Management Unit.

  - Umalusi has restricted the period during which it will accept questions or requests for further information or clarification and reserves the right not to respond to any enquiry or request, irrespective of when such enquiry or request is received.

  - A bidder may, by notifying the Supply Chain Management Unit in writing, withdraw a question submitted in accordance with this clause, in circumstances where the bidder does not wish Umalusi to publish its response to the question to all bidders.

- UNAUTHORISED COMMUNICATIONS

  - Communication (including promotional or advertising activities) with staff of Umalusi relating to this bid is not permitted during the bidding process, or otherwise without the prior consent of the Bid Adjudication Committee.

  - Bidders must not otherwise engage in any activities that may be perceived as, or that may have the effect of, influencing the outcomes of the bidding process in any way.

- IMPROPER ASSISTANCE, FRAUD AND CORRUPTION

  - Bidders may not seek or obtain the assistance of employees of Umalusi in the preparation of their bid responses.

  - Umalusi may, in its absolute discretion, immediately disqualify a bidder that it believes has sought or obtained such improper assistance.

  - Bidders are to be familiar with the implications of contravening the Prevention and Combating of Corrupt Activities Act, Act 12 of 2004 and any other relevant legislation.

- CONFLICT OF INTEREST

  - A bidder must not, and must ensure that its officers, employees, agents and advisors do not, place themselves in a position that may give rise to actual, potential or perceived conflict of interest between the interests of Umalusi and the bidder’s interests during the bidding process.

  - The bidder is required to provide details of any interests, relationships or clients which may or do give rise to a conflict of interest in relation to the supply of the services under any contract that may result from this bid.  If the Bidder submits its bid and a subsequent conflict of interest arises, or is likely to arise, which was not disclosed in the bid, the Bidder must notify Umalusi immediately in writing of that conflict.

  - Umalusi may immediately disqualify a Bidder from the Bidding Process if the Bidder fails to notify Umalusi of the conflict as required.

- LATE BIDS

  - Bids must be delivered by the closing date and time as stipulated in point 3 above.

  - Bids delivered after the closing date and time or lodged at a location or in a manner that is contrary to what is specified in this bid will be disqualified from the Bidding Process.

- PREPARATION OF BIDS

  - Bidders must ensure that:

    - their bids are submitted in the required format as stipulated in this bid; and

    - all the required information fields in the bids are completed in full and contain the information requested by Umalusi.

  - Umalusi may in its absolute discretion reject a bid that does not include the information requested or is not in the format required.

  - Unnecessarily elaborate responses or other representations beyond that which is sufficient to present a complete and effective bid proposal are not desired or required. Elaborate and expensive visual and other presentation aids are not necessary.

  - Where the Bidder is unwilling to accept a specified condition, the non-acceptance must be clearly and expressly stated.  Prominence must be given to the statement detailing the non-acceptance.  It is not sufficient that the statement appears only as part of an attachment to the bid or be included in a general statement of the Bidder’s usual operating conditions.

  - An incomplete bid may be assessed solely on the information completed or received with the bid.

- ILLEGIBLE CONTENT, ALTERATION AND ERASURES

  - Umalusi may disregard any content in a bid that is illegible and will be under no obligation whatsoever to seek clarification from the Bidder.

  - Umalusi may permit a bidder to correct an unintentional error in its bid where that error becomes known or apparent after the closing time, but in no event will any correction be permitted if Umalusi reasonably considers that the correction would materially alter the substance of the bid or affect the fairness of the bidding process.

- RESPONSIBILITY FOR BIDDING COSTS

  - The Bidder’s participation or involvement in any stage of the bidding process is at the Bidder’s sole risk, cost and expense.  Umalusi will not be held responsible or pay for, any expense or loss that may be incurred by bidders in relation to the preparation or lodgement of their bid.

  - Umalusi  is not liable to the Bidder for any costs on the basis of any contractual, promissory or restitutionary grounds whatsoever as a consequence of any matter relating to the Bidder’s participation in the bidding process, including without limitation, instances where:

    - the Bidder is not engaged to perform under any contract; or

    - Umalusi exercises any right under this bid or at law.

- DISCLOSURE OF BID CONTENTS AND BID INFORMATION

  - All bids received by Umalusi will be treated as confidential. Umalusi will not disclose the contents of any bid and Bid information, except:

    - as required by law or court order;

    - for the purpose of investigations by other government authorities having relevant jurisdiction;

    - to external consultants of Umalusi engaged to assist with the bidding process; or for the general information of bidders required to be disclosed as per National Treasury Regulations, Guidelines, Instruction Notes or Practice Notes.

- BID ACCEPTANCE

All bids received must remain open for acceptance for a maximum period of 180 (One hundred and eighty) days from the closing time.  This period may be extended by written mutual agreement between Umalusi and the bidder.

20.	EVALUATION PROCESS

20.1	The Bid will be evaluated in four phases as follows:

20.1.1	Phase 1 Administrative Compliance

Only bidders who meet all administrative compliance requirements will be eligible to participate in the next phase. Bids that do not satisfy all of the administrative compliance criteria may not be evaluated further.

20.1.2	Phase 2- Mandatory Technical Criteria

Only bidders who comply with the mandatory requirements will be eligible for further evaluation. A bid that fails to meet the mandatory requirements shall be disqualified.

20.1.3	Phase 3- Selection Criteria

Bidders are evaluated based on the selection criteria set out in this tender.  Only Bidders who score 80 points or higher (out of a possible 100) will be evaluated in Phase 4.

20.1.4	Phase 4 – Specific Goals and Price

In terms of Regulation 4(2), 5(2), 6(2), and 7(2) of the Preferential Procurement Regulations, preference points must be awarded for specific goals stated in the tender. For the purposes of this tender, the tenderer will be allocated points based on the specific goals prescribed and must be supported by proof/ documentation stated in the conditions of this tender.

Bidders who have passed the initial and first stages of the bidding process will be scored based on price and specific goal allocation. The successful Bidder will typically be the Bidder that scores the highest number of points on Phase 4 of the bid evaluation process, unless Umalusi exercises its right to cancel the Tender or finds that there are valid business reasons that justify the award to a company that did not obtain the highest score.

  - Phase 1 - Administrative Compliance

21.1.1 The following administrative compliance will be applied in the initial stage of the evaluation.  Bidders who do not meet the administrative compliance requirements may not be considered for the next stage of evaluation.

    - Bidders are required to complete the table below by indicating whether they comply with the requirement by marking the appropriate column with an ‘X’ in the table below.  Bidders are required to corroborate each requirement, where applicable.

| Requirements | Non-Compliant | Compliant | Comment or reference to a section in the bid Document |
| --- | --- | --- | --- |
| - Correctly completed tender and all supporting documents signed and/or intialed by authorised signatories. |  |  |  |
| - Letter of authority as proof that the person who signed the bid has the authority to do so. |  |  |  |
| - A valid SARS Tax Status. Certificate/ SARS tax pin. |  |  |  |
| - National Treasury Central Supplier Database - Proof of registration. |  |  |  |
| - Companies and Intellectual Property Commission - Proof of registration. |  |  |  |
| - The above requirements also apply to all members of consortia or joint ventures who submit Joint Bids. |  |  |  |
| - Bidder has submitted all returnable documentation to Umalusi (Annexures and SBD forms). (SBD1; SBD 3.3; SBD 4; SBD 6.1) |  |  |  |
| - Certificate of authority for the Joint Venture/Joint Venture Agreement |  |  |  |
| - Company profile (summary) |  |  |  |
| - National Treasury General Conditions of Contract – signed or initialled on all pages |  |  |  |

  - Phase 2- Mandatory criteria

Please complete the table below by indicating “yes” or “no” to confirm whether this requirement is met and provide explanations/ comments to support your answers. Please attach or provide evidentiary proof.

NB: Bids that score “no” or do not provide evidence for any items in the mandatory requirements section will be disqualified and will not advance to the next phase of evaluation.

| Item | Description | Details | (Yes / No) | Comments/ Reference to relevant documentation (Proof) |
| --- | --- | --- | --- | --- |
| Documents Relating to the Tendering Entity |  |  |  |  |
|  | Attendance of compulsory briefing session. | Failure to attend the compulsory briefing session will invalidate the tender offer. |  |  |
|  | Letter of Good Standing in terms of Compensation for Occupational Injuries and Diseases Act (COIDA). | Copy of a letter of good standing issued by the Department of Employment and Labour for COIDA. The letter must be valid at the close of tender, and a valid letter must be produced at the time of award if it expires between the close of tender and the award. |  |  |
|  | Financial Capability | The bidder must submit a copy of the bank report or a bank rating letter, signed by the registered bank and issued on the bank's official letterhead. The bidder’s rating should be a minimum of “good” or above (depending on the banks’ rating matrix). |  |  |
|  | CIDB grade | The Tenderer shall have a CIDB Grading of 6GB or higher. The Tenderer shall provide a valid copy of the certificate. |  |  |

Phase 3 - Selection Criteria

The evaluation for selection criteria aims to assess the bidder’s capability, reliability and ability to execute and maintain a bid and / or contract. The minimum number of points bidders must obtain to progress to the next stage of evaluation is 80.

NB: Bids that score less than 80 on the selection criteria will be disqualified and will not progress to the next phase of evaluation.

TENDERER EVALUATION POINTS.

| Documents Required for Evaluation of Functionality |  |  |  |
| --- | --- | --- | --- |
|  |  |  | Maximum Points |
|  | Tenderer’s experience (Ref to the Schedule A below) | - General experience in construction projects - Attach reference letters and a copy of the completion certificate (practical or final). | 40 |
|  | Organogram and Experience of Key Personnel (Ref to the Schedule B below) | - Qualifications and skills of the key personnel. - Attach copies of the qualifications and all required documents. | 40 |
|  | Construction Methodology (Ref to the Schedule C below) | - Technical Methodology in terms of execution of the works | 10 |
|  | Preliminary Programme (Ref to the Schedule D below) | - Detailed activities and dependencies - Activity durations clearly indicated - Project within the stated contract period | 10 |

SCHEDULE A: TENDERER’S EXPERIENCE SCHEDULE

The experience of the tendering entity in projects of a similar type and/or scale (i.e., similar experience) will be evaluated. Similar experience is defined as having experience in building projects as per the table below:

| DEFINITION | BASIC WORKS TYPES | EXAMPLES |
| --- | --- | --- |
| Construction works that: - are primarily concerned with the development, extension, installation, renewal, renovation, alteration, or dismantling of a permanent structure. | Building & ancillary works other than those categorised as: - civil engineering works - electrical engineering works - mechanical engineering works - specialist works | - Buildings for domestic, industrial, institutional or commercial occupancies - Masonry (brick, block or stone) and lightly reinforced or unreinforced cast-in-situ concrete walls and timber fences - Stores - Walls |

NOTE: zero (0) points shall be awarded for projects that do not comply with the definition of similar experience as described above.

The scoring will be as follows:

| CATEGORY | ALLOCATION OF POINTS | ACTUAL POINTS SCORED |
| --- | --- | --- |
| No Response | 0 |  |
| One (1) similar Project above R5 million successfully completed post 31 December 2021 | 10 |  |
| Two (2) similar Projects above R5 million each successfully completed post 31 December 2021 | 15 |  |
| Three (3) similar Projects above R5 million each successfully completed post 31 December 2021 | 20 |  |
| Four (4) similar Projects above R5 million each successfully completed post 31 December 2021 | 30 |  |
| Five (5) similar Projects above R5 million each successfully completed post 31 December 2021 | 40 |  |

SCHEDULE A:	TENDERER’S EXPERIENCE SCHEDULE (CONTINUED)

All respondents must complete the following tables

| Item | Employer, contact person and telephone number | Description of the project | A detailed description and the disciplines involved | Value of the Project | Project duration | Year completed | Principal Agent, Contact Person and Telephone Number |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Projects greater than R5 000 000 |  |  |  |  |  |  |  |

SCHEDULE B: 	ORGANOGRAM AND EXPERIENCE OF KEY PERSONNEL

The experience of assigned staff member/s in relation to the scope of work will be evaluated as follows:

- Submission of an organogram indicating the following levels of positions as a minimum:  Contracts Manager, Site Agent, Senior Foreman and Health & Safety Officer. The years of experience in their current position is to be indicated in the Organogram.

  - Contracts Manager – relevant qualifications in the built environment (civil engineering, building sciences, electrical, mechanical or construction management) and registered with SACPCMP.

  - Site Agent - relevant qualifications in the built environment (civil engineering, building sciences, electrical, mechanical or construction management)

  - Senior Foreman - relevant qualifications in the built environment (civil engineering or building sciences)

  - Health & Safety Officer – health and safety qualification and registered with SACPCMP.

- A copy of the relevant qualification is to be submitted, failing which, zero points will be awarded for qualifications.

- The skills and experience of the assigned staff should be of a similar nature in the operational area for which the staff have been responsible.

- Failure to submit CVs or incomplete CVs of the personnel listed in the scoring below will be scored zero.

CVs for the construction team, not more than 2 pages each, should be attached to this schedule. Each CV should be structured as per the template below.

NOTE: Tenderers are advised that at a minimum, all positions need to comply with any one of the categories in order to score the maximum points in any particular category.

The scoring will be as follows:

| CATEGORY NO | DESCRIPTION | ALLOCATION OF POINTS | ACTUAL POINTS SCORED |
| --- | --- | --- | --- |
|  | Contracts Manager (10 points) | Between 1 and 5 years of experience = 5 points |  |
|  |  | Between 5 and 10 years' experience = 8 points |  |
|  |  | Above 10 years' experience = 10 points |  |
|  | Site Agent (10 points) | Between 1 and 5 years of experience = 5 points |  |
|  |  | Between 5 and 10 years of experience = 8 points |  |
|  |  | Above 10 years’ experience = 10 points |  |
|  | Senior Foreman (10 points) | Up to 5 years of experience = 5 points |  |
|  |  | Between 5 and 10 years of experience = 8 points |  |
|  |  | Above 10 years’ experience = 10 points |  |
|  | Health and Safety Officer (10 points) | Up to 5 years of experience = 5 |  |
|  |  | Between 5 and 10 of years = 8 |  |
|  |  | Above 10 years = 10 |  |

Note:

- Copies of qualifications must be attached.

- No points will be awarded for experience if the relevant qualification is not attached.

SCHEDULE B:	ORGANOGRAM AND EXPERIENCE OF KEY PERSONNEL (CONTINUED)

| CURRICULUM VITAE TEMPLATE OF KEY PERSONNEL |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DESIGNATION……………………………………………………………………………………… |  |  |  |  |  |  |  |  |
| Name: |  |  | Date of birth: |  |  |  |  |  |
| Profession: |  |  | Nationality: |  |  |  |  |  |
| Formal Qualifications: |  |  |  |  |  |  |  |  |
| Qualification |  | From: Name of Institution |  |  | Year Obtained |  |  |  |
| 1 |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |
| Professional Registrations/ Designation: |  |  |  |  |  |  |  |  |
|  | Professional Registrations/ Designation | Professional Body/Council |  |  | Registration Number |  |  |  |
| 1 |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |
| Name of Current Employer (firm): |  |  |  | Full Time: | Yes |  | No |  |
| Current Position: |  |  |  | Years of Experience: |  |  |  |  |
| Name of Previous Employer (firm): |  |  |  | Full Time: | Yes |  | No |  |
| Position held: |  |  |  | Years of Experience: |  |  |  |  |
| Name of Previous Employer (firm): |  |  |  | Full Time: | Yes |  | No |  |
| Position held: |  |  |  | Years of Experience: |  |  |  |  |
| Name of Previous Employer (firm): |  |  |  | Full Time: | Yes |  | No |  |
| Position held: |  |  |  | Years of Experience: |  |  |  |  |

Record of Specific Experience Pertinent to Required Service:

NB. The above CV template should be completed for each official (positions listed above). Failure will result in forfeiture of the points allocation.

SCHEDULE C:	CONSTRUCTION METHODOLOGY

The Tenderer is discouraged from producing a generic method statement. The method statement must be concise and clearly demonstrate how this project will be implemented as per the contents and details in the table below.

| CONTENTS |  | DETAILS |
| --- | --- | --- |
|  | Introduction | Description of the project, location and the Client |
|  | Scope | Demonstrate understanding of the scope of work |
|  | Working Access | Site access, working hours, and details of the site establishment area |
|  | Plant & Equipment | List of Plant and equipment to be used and maintenance plan during construction |
|  | Materials | Ordering, delivery and storage of materials |
|  | Method of Work | Describe the sequence of work, activities and programme |
|  | Risk management | Risk and controls in place, programme and time management |
|  | Communication | Organogram, communication plan indicating roles and responsibilities |
|  | Training | Details of training offered to local labour and subcontractors |
|  | Quality Control | Supervision, quality and document control plan |
|  | Health and safety | Health and safety plan, safe working, dust control, protective wear, medical reports, etc |
|  | Project Close-out | Remedial works, COCs, As-built drawings, manuals and guarantees, etc |

The scoring will be as follows:

| Category | Allocation of points | Actual points scored |
| --- | --- | --- |
| No information provided, or irrelevant information provided | 0 |  |
| The method statement is specific to this project and includes at least four (4) of the requirements indicated in the table above. | 4 |  |
| The method statement is specific to this project and includes at least six (6) of the requirements indicated in the table above. | 6 |  |
| The method statement is specific to this project and includes at least eight (8) of the requirements indicated in the table above. | 8 |  |
| The method statement is specific and includes all of the requirements indicated in the table above. | 10 |  |

NB. Bidders must provide how the Floor propping and concrete openings scope will be executed.

SCHEDULE D: PRELIMINARY PROGRAMME

The tenderer shall submit a detailed programme that clearly decomposes the construction activities and indicates their hierarchy. The activities shall indicate their duration and dependencies among tasks. They should also be appropriate and realistic. The programme clearly indicates the project’s critical path. In addition to construction activities, the programme is to allow and include the following:

• Annual builders’ holiday

•15 working days for project delays, such as but not limited to inclement and exceptionally inclement weather, and an extension of time shall only be considered for inclement and exceptionally inclement weather beyond this Fifteen (15) working day period. The overall project duration is 6 Months including the annual builder’s break. For the purpose of evaluating this tender, the tenderer is to assume the start date to be 01 September 2026. The successful tenderer will be requested to revise the programme to accommodate the shift in the start date.

Note: Should the tender programme exceed the project duration of 6 months, including the annual builders’ break, and provision for project delays, the tenderer shall be scored zero points for this section.

| CATEGORY | ALLOCATION OF POINTS | ACTUAL POINTS SCORED |
| --- | --- | --- |
| No Response or exceed project duration | 0 |  |
| The programme/ implementation plan only shows main activities with no dependencies between them, and the project duration is within the project period. | 2 |  |
| The programme/ implementation plan does not clearly show all activities, the dependencies between them are not in a logical sequence, and the project duration is within the project period. | 4 |  |
| The programme/ implementation plan clearly shows all activities, the dependencies between them are in a logical sequence, and the project duration is within the project period. | 6 |  |
| The programme/ implementation plan clearly shows all activities, the dependencies between them are in a logical sequence, and the project duration is within the project period. In addition, the durations of each activity are clearly indicated and are appropriate and realistic. | 8 |  |
| The programme/ implementation plan clearly shows all activities, the dependencies between them are in a logical sequence, and the project duration is within the project period. In addition, the durations of each activity are clearly indicated and are appropriate and realistic, and the programme clearly indicates the project’s critical path. | 10 |  |

  - Phase 5 Price and Specific Goals

21.5.1 In terms of the Preferential Procurement Regulations pertaining to the Preferential Procurement Framework Act,2000(Act 5 of 2000), responsive bids will be adjudicated by Umalusi on the 80/20 point system in terms of which points are awarded to bidders based on:

Price points 		80

Specific goals	20

21.5.2  Price points

The following formula will be used to calculate the points for price:

Ps = 80(1-(Pt-Pmin)/Pmin)

Where:

Ps = Points scored for the comparative price of Bid or offer under consideration;

Pt = Comparative price of Bid or offer under consideration; and

Pmin = Comparative price of lowest acceptable Bid or offer

21.5.3 Specific goals

A maximum of 20 points will be awarded in respect of specific goals. The points will be awarded to a bidder for attaining the specific goals in accordance with the table below:

| Specific goals and maximum allocated points in terms this tender | Ownership percentage | Number of points allocated (80/20 system) | Number of points claimed(To be completed by the tenderer) |
| --- | --- | --- | --- |
| Black people (Max 5 points) | 50% or more | 5 |  |
|  | 30% to 49% | 3 |  |
|  | 20% to 29% | 2 |  |
|  | 1% to 19% | 1 |  |
| Youth (Max 5 points) | 15% or more | 5 |  |
|  | 10% to 14% | 3 |  |
|  | 1% to 9% | 1 |  |
| Women (Max 5 points) | 15% or more | 5 |  |
|  | 10% to 14% | 3 |  |
|  | 1% to 9% | 1 |  |
| People with disabilities (Max 5 points) | 5% or more | 5 |  |
|  | 3% to 4% | 3 |  |
|  | 1% to 2% | 1 |  |

NB The percentages for specific goals will be rounded off to full percentage points

- NOTE TO BIDDERS

  - As part of the evaluation process Umalusi will conduct a reference check on the provided referee.

- STATUS OF BID

  - Each bid constitutes an irrevocable offer by the bidder to Umalusi to provide the services required and otherwise to satisfy the requirements of the specification as set out in this bid.

  - A bid must not be conditional on:

    - the Board approval of the Bidder or any related governing body of the Bidder being obtained;

    - the Bidder conducting due diligence or any other form of enquiry or investigation;

    - the Bidder (or any other party) obtaining any regulatory approval or consent;

    - the Bidder obtaining the consent or approval of any third party; or

    - the Bidder stating that it wishes to discuss or negotiate any commercial terms of the contract.

  - Umalusi may, in its absolute discretion, disregard any Bid that is, or is stated to be, subject to any one or more of the conditions detailed above (or any other relevant conditions).

  - Umalusi reserves the right to accept a Bid in part or in whole or to negotiate with a Bidder in accordance with the provisions of this Bid and the applicable laws and regulations.

- SUCCESSFUL BIDS

  - Selection as a successful Bidder does not give rise to a contract (expressed or implied) between the successful Bidder and Umalusi for the supply of the Services.  No legal relationship will exist between Umalusi and a successful Bidder for the supply of the Services until such time as a binding contract is executed by them.

  - Umalusi may, in its absolute discretion, decide not to enter into pre-contractual negotiations with a successful Bidder.

  - A Bidder is bound by its Bid and all other documents forming part of the Bidder’s Response and, if selected as a successful Bidder, must enter into a contract on the basis of the Bid with or without further negotiation.

- NO OBLIGATION TO ENTER INTO CONTRACT

  - Umalusi is under no obligation to appoint a successful Bidder or Bidders (as the case may be), or to enter into a contract with a successful Bidder or any other person, if it is unable to identify a Bid that complies in all relevant respects with the requirements of Umalusi, or if due to changed circumstances, there is no longer a need for the services requested, or if funds are no longer available to cover the total envisaged expenditure.  For the avoidance of any doubt, in these circumstances Umalusi will be free to proceed via any alternative process.

- BIDDER WARRANTIES

  - By submitting a bid, a bidder warrants that:

    - it did not rely on any express or implied statement, warranty or representation, whether oral, written, or otherwise made by or on behalf of Umalusi, its officers, employees, or advisers other than any statement, warranty or representation expressly contained in the bid;

    - it did not use the improper assistance of Umalusi’s employees or information unlawfully obtained from them in compiling its bid;

    - it is responsible for all costs and expenses related to the preparation and lodgement of its Bid, any subsequent negotiation, and any future process connected with or relating to the bidding process;

    - it accepts and will comply with the terms set out in this bid; and

    - it will provide additional information in a timely manner as requested by Umalusi to clarify any matters contained in the Bid.

- UMALUSI ’S RIGHTS

  - Notwithstanding anything else in this bid, and without limiting its rights at law or otherwise, Umalusi reserves the right, in its absolute discretion at any time, to:

    - cease to proceed with, or suspend the bidding process prior to the execution of a formal written contract;

    - alter the structure and/or the timing of this Bid or the bidding process;

    - vary or extend any time or date specified in this bid;

    - terminate the participation of any Bidder or any other person in the bidding process;

    - require additional information or clarification from any Bidder or any other person;

    - provide additional information or clarification;

    - negotiate with any one or more bidders;

    - call for a new bid;

    - Reject any bid received after the closing time; or

    - Reject any bid that does not comply with the requirements of this bid.

- GOVERNING LAWS

  - This bid and the bidding process are governed by the laws of the Republic of South Africa.

  - Each bidder must comply with relevant laws in preparing and lodging its bid and in taking part in the bidding process.

  - All bids must be completed using the English language and all costing must be in South African Rand.

- MANDATORY TERMS AND CONDITIONS

  - Bidders' attention is drawn to the below conditions.

This Bid is subject to the Umalusi Standard Terms and Conditions of Procurement Contract stipulated in this BID document.

The laws of the Republic of South Africa govern this BID and the Bidders hereby accept that the courts of the Republic of South Africa have jurisdiction over any legal disputes.

Umalusi shall not be liable for any costs incurred by the Bidder in the preparation of a response to this BID.

In the case of Consortium, Joint Venture, or subcontractors, Bidders are required to provide copies of signed agreements stipulating the work split and Rand value.

In the case of Consortium, Joint Venture, or subcontractors, all Bidders are required to provide mandatory documents; this includes a BEE certificate for the individual companies as well as a consolidated B-BBEE certificate for the Joint Venture (company).

Umalusi reserves the right to cancel or reject any proposal and not to award the proposal to the lowest Bidder or award parts of the proposal to different Bidders, or not to award the proposal at all.

By submitting a proposal in response to this Bid, the Bidders accept the evaluation criteria as it stands.

Should the parties at any time before and/or after the award of the proposal and prior to, and/or after the conclusion of the contract fail to agree on any significant product price or service price adjustments, change in technical specification, change in services, etc. Umalusi shall be entitled, within 14 (fourteen) days of such failure to agree, to revoke the letter of award and cancel the proposal by giving the Bidder not less than 14 (fourteen) days written notice of such cancellation, in which event all fees on which the parties failed to agree increases or decreases shall, for the duration of such notice period, remain fixed on those fee/price applicable prior to the negotiations. Such cancellation shall mean that Umalusi reserves the right to award the same proposal to next best Bidder as it deems fit.

Any amendment or change of any nature made to this BID shall only be of force and effect if it is in writing, signed by Umalusi signatory and added to this BID as an addendum.

Bidders who make use of subcontractors: The proposal shall be awarded to the Bidder as a primary contractor who shall be responsible for the management of the awarded proposal. A Bidder awarded the contract may not subcontract more than 25% of the value of contract to any enterprise that does not have an equal or higher B-BBEE status level of contributor than the person concern, unless the contract is subcontracted to an EME that has the capability and ability to execute the subcontract.

Evaluation of Bids shall be performed by an evaluation panel established by Umalusi. Bids shall be evaluated on the basis of conformance to the required specifications as outlined in the BID. Points shall be allocated to each Bidder, on the basis that the maximum number of points that may be scored for price is 80, and specific goals (20) according to the (PPF) 2022.

Should the Bidder change any wording or phrase in this document, the Bid shall be evaluated as though no change has been effected and the original wording or phrasing shall be used.

| Signature(s) of Bidder or assignee(s) |  | Date |
| --- | --- | --- |
| Name of signing person (in block letters) |  |  |
| Capacity |  |  |
| Are you duly authorised to sign this Bid? |  |  |
| Name of Bidder (in block letters) |  |  |
| Domicilium citandi et executandi in the RSA (full street address of this place) (in block letters) ……………………………………………………………………………………………………… ………………………………………………………………………………………………………… Telephone number: ……………………………………………………………….…………….. Cell phone number: …………………………….………………………………………………. E-mail Address………………………………………………………………..…………………….. |  |  |

CERTIFICATE OF AUTHORITY FOR ENTITY OR JOINT VENTURES

This returnable schedule is to be completed by entity or joint ventures. We, the undersigned, are submitting this tender offer in joint venture and hereby authorize Mr/Ms ……………….…………………………………………………………………………………., authorized signatory of the company, close corporation or partnership ……………………………………………………………………………………..………………….………………………………………………………...................................................................................acting in the capacity of lead partner, to sign all documents in connection with the tender offer and any contract resulting from it on our behalf.

| NAME OF FIRM | ADDRESS | DULY AUTHORISED SIGNATORY |
| --- | --- | --- |
|  |  | Signature…………………………….. Name…………………………………. Designation………………………….. |
|  |  | Signature…………………………….. Name…………………………………. Designation………………………….. |
|  |  | Signature…………………………….. Name…………………………………. Designation………………………….. |

Note:

A copy of the Joint Venture Agreement showing clearly the percentage contribution of each partner to the Joint Venture shall be appended to this schedule.

ANNEXURE

A

- SCOPE OF WORK

INTRODUCTION

Umalusi is a Schedule 3A Public Entity that sets and monitors standards for general and further education and training in South Africa in accordance with the National Qualifications Framework Act No. 67 of 2008 and the General and Further Education and Training Quality Assurance Act No. 58 of 2001. The Council is tasked with the development and management of a sub-framework of qualifications for general and further education and training. More information can be obtained from www.umalusi.org.za

  - GENERAL DUTIES

This Section establishes the full extent of the required works, and the contractor's general obligations are outlined in the following section.

30.1.1. Ground Floor Works

Work on the ground floor is foundational, focusing on the critical structural alterations for the new lift pit excavation and the establishment of new accessible circulation paths, including the ramp and balustrade.

30.1.1.1 Demolition Works

●	The Contractor shall demolish existing drywall sections as per the dimensions indicated on the Ground Floor Demolition Plan.

●	The Contractor shall create new openings in existing masonry walls. The Contractor shall provide temporary propping and install new structural support (lintels/beams) to the Structural Engineer's detailed specification.

●	The Contractor shall remove existing floor finishes in the ICT Storeroom and the General Store. The Employer is responsible for clearing all items from these areas prior to the contractor commencing work.

●	The Contractor shall make good all surfaces affected by demolition activities, including but not limited to suspended ceilings, floor finishes, and wall plaster, to match the adjacent existing finishes.

30.1.1.2 Refurbishment and New Construction

●	The Contractor shall execute the full scope of structural works for the lift retrofit. This includes saw-cutting and excavating the ground floor slab to create a lift pit measuring 1850mm x 1750mm x 1200mm deep. The work includes constructing a reinforced concrete base, applying waterproofing, and providing for drainage as per the Structural Engineer's specification.

●	The Contractor shall construct the new lift shaft wall. The Contractor is solely responsible for verifying all lift shaft dimensions, structural requirements, and construction methodology with the nominated lift supplier prior to commencing any work. All verified details must be submitted as workshop drawings for formal approval by the Architect and Structural Engineer.

●	The Contractor shall construct a new brick wall balustrade to a minimum height of 1105mm.

●	The Contractor shall install a new pedestrian access ramp with a gradient not steeper than 1:12.

●	The Contractor shall install a new Grade 304 ø50mm stainless steel handrail as per the architectural details.

●	The Contractor shall install new suspended ceilings as indicated on the Ceiling Plan. This includes shadow-line perimeters in designated areas and suspended plasterboard ceilings with bulkheads where specified.

30.1.2 First Floor Works

The scope for the first floor centers on the vertical continuation of the lift shaft, the strategic reconfiguration of office spaces, and the integration of a new, fully compliant accessible ablution facility.

30.1.2.1 Demolition Works

●	The Contractor shall perform precision diamond saw cutting of the existing first-floor concrete slab to create clean, accurate edges for new openings.

●	The Contractor shall core-drill and saw-cut the 1850mm x 1750mm opening for the new lift shaft. This work requires temporary propping of the slab from below and scanning for existing reinforcement prior to cutting, subject to the Structural Engineer's approval.

●	The Contractor shall demolish designated existing drywall sections and make good all affected suspended ceilings and floor finishes.

●	The Contractor shall demolish the existing aluminium door section as indicated.

●	The Contractor shall undertake the careful removal and storage of the existing glass partition and door as indicated, for potential re-use or disposal as directed.

●	The Contractor shall remove existing suspended ceilings in areas designated for refurbishment.

30.1.2.2 Refurbishment and New Construction

●	The Contractor shall form the new lift shaft opening, including the casting of reinforced concrete edge beams as per the Structural Engineer's detailed drawings and specifications.

●	Critical Alignment: The Contractor shall ensure the precise vertical alignment of the lift shaft opening through all floor slabs. Any deviation must be reported to the Architect and Structural Engineer immediately.

●	The Contractor shall construct new drywall partitions. These partitions must meet the specified performance requirements of a 60-minute fire rating and a 41dB sound rating.

●	The Contractor shall create new openings in existing masonry walls, installing lintels and supports to the Structural Engineer's specification.

●	The Contractor shall install a new, fully compliant paraplegic toilet. This includes all specified sanitary ware, grab rails, fixtures, and finishes, ensuring full compliance with SANS 10400-S.

●	The Contractor shall ensure the relocation and reconnection of the existing electrical Distribution Board (DB). This work must be executed by a qualified electrician in accordance with the Electrical Engineer's details and SANS 10142.

●	The Contractor shall install new suspended ceilings, ensuring the grid pattern and installation height match the existing adjacent ceilings.

●	The Contractor shall install new laminate flooring to match the existing product type and finish in areas affected by the refurbishment.

30.1.3 Second Floor Works

Work on the second floor completes the primary structural intervention for the lift shaft, re-purposes key areas with a new kitchenette, and reconfigures office layouts to meet new functional requirements.

30.1.3.1 Demolition Works

●	The Contractor shall core-drill and saw-cut the second-floor slab to create the 1850mm x 1750mm lift shaft opening, following the same propping and scanning requirements as the first floor.

●	The Contractor shall demolish existing drywall partitions, doors, and aluminium shopfronts as dimensioned. The contractor is responsible for replacing and making good any laminate flooring affected by these demolitions.

●	The Contractor shall remove all existing kitchen joinery and associated fixtures. All wall and floor surfaces shall be made good to receive new cabinetry.

●	The Contractor shall remove existing suspended ceilings and floor finishes in areas indicated on the demolition plan.

30.1.3.2 Refurbishment and New Construction

●	The Contractor shall construct the final section of the lift shaft walls and reinforce the new slab opening as per the Structural Engineer's specifications.

●	Critical Alignment: The Contractor shall ensure the precise vertical alignment of the lift shaft opening through all floor slabs. Any deviation must be reported to the Architect and Structural Engineer immediately.

●	The Contractor shall install new drywall partitions to create the revised office layout.

●	The Contractor shall install new kitchen cabinetry, complete with specified 30mm Rustenburg Granite countertops, Veneered SupaWood doors, a Franke Rondo RDX610-34 prep bowl, and a Projectline Single Lever mixer tap.

●	The Contractor shall install new suspended ceilings in all refurbished areas as per the ceiling plan and associated specifications.

30.1.4 Roof Works

Roof works are critical for closing the building envelope, requiring precise structural modifications to the existing trusses and meticulous waterproofing to integrate the new lift overrun seamlessly.

30.1.4.1 Demolition Works

●	The Contractor shall carefully remove the existing concrete roof tiles in the area directly above the new lift shaft.

●	The Contractor shall stockpile all removed tiles neatly and securely on-site for re-use.

●	The Contractor shall prop, cut, and re-secure existing timber roof trusses as per the Structural Engineer's directives to create the required opening for the new lift shaft structure.

30.1.4.2 Refurbishment and New Construction

●	The Contractor shall construct the new reinforced concrete roof slab over the lift shaft, complete with integrated waterproofing and drip details as specified by the Structural Engineer.

●	The Contractor shall re-install the stockpiled concrete roof tiles on new 38mm x 50mm sawn softwood battens. The tiles are to be laid over a new single-sided Radiant Barrier.

●	The Contractor shall install new flashing (Black BMI Coverland Easyflash) to all abutments where the new lift structure meets the existing roof, ensuring a durable, watertight seal.

- Pricing schedule

- Bidders must quote as per the attached excel pricing schedule

- A firm ZAR pricing schedule will be required as per SBD 3.3

- The quoted price should be in ZAR and must include all taxes

- The quoted (Itemised) price must be valid for a period of 180 days from the closing date of the bid.

- The final price must be inclusive of VAT at all times.

- Payment will be made within 30 days after receipt of the final Original Tax Invoice(s).

- All tender submissions are subject to the Republic of South Africa Government Procurement General Conditions of Contract.

ANNEXURE

B

SBD 1

PART A

INVITATION TO BID

| YOU ARE HEREBY INVITED TO BID FOR REQUIREMENTS OF THE (NAME OF DEPARTMENT/ PUBLIC ENTITY) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BID NUMBER: | Umalusi (25-26) T0004 |  | CLOSING DATE: |  | 30 April 2026 |  | CLOSING TIME: | 12:00 |
| DESCRIPTION | APPOINTMENT OF A SERVICE PROVIDER FOR THE RENOVATIONS AND ALTERATIONS TO THE EXISTING UMALUSI HOUSE |  |  |  |  |  |  |  |
| BID RESPONSE DOCUMENTS MAY BE DEPOSITED IN THE BID BOX SITUATED AT (STREET ADDRESS) |  |  |  |  |  |  |  |  |
| UMALUSI |  |  |  |  |  |  |  |  |
| 41 GENERAL VAN RYNEVELD |  |  |  |  |  |  |  |  |
| PERSEQUOR TECHNOPARK |  |  |  |  |  |  |  |  |
| PRETORIA |  |  |  |  |  |  |  |  |
| BIDDING PROCEDURE ENQUIRIES MAY BE DIRECTED TO |  |  |  | TECHNICAL ENQUIRIES MAY BE DIRECTED TO: |  |  |  |  |
| CONTACT PERSON |  | Supply Chain Management |  | CONTACT PERSON |  |  |  |  |
| TELEPHONE NUMBER |  | 012 349 1510 |  | TELEPHONE NUMBER |  |  |  |  |
| FACSIMILE NUMBER |  | N/A |  | FACSIMILE NUMBER |  |  | N/A |  |
| E-MAIL ADDRESS |  | tenders@umalusi.org.za |  | E-MAIL ADDRESS |  |  | tenders@umalusi.org.za |  |
| SUPPLIER INFORMATION |  |  |  |  |  |  |  |  |
| NAME OF BIDDER |  |  |  |  |  |  |  |  |
| POSTAL ADDRESS |  |  |  |  |  |  |  |  |
| STREET ADDRESS |  |  |  |  |  |  |  |  |
| TELEPHONE NUMBER |  | CODE |  |  | NUMBER |  |  |  |
| CELLPHONE NUMBER |  |  |  |  |  |  |  |  |
| FACSIMILE NUMBER |  | CODE |  |  | NUMBER |  |  |  |
| E-MAIL ADDRESS |  |  |  |  |  |  |  |  |
| VAT REGISTRATION NUMBER |  |  |  |  |  |  |  |  |
| SUPPLIER COMPLIANCE STATUS |  | TAX COMPLIANCE SYSTEM PIN: |  | OR |  | CENTRAL SUPPLIER DATABASE No: | MAAA |  |
| - ARE YOU THE ACCREDITED REPRESENTATIVE IN SOUTH AFRICA FOR THE GOODS /SERVICES OFFERED? |  | Yes No [IF YES ENCLOSE PROOF] |  | - ARE YOU A FOREIGN BASED SUPPLIER FOR THE GOODS /SERVICES OFFERED? |  |  | Yes No [IF YES, ANSWER THE QUESTIONNAIRE BELOW] |  |
| QUESTIONNAIRE TO BIDDING FOREIGN SUPPLIERS |  |  |  |  |  |  |  |  |
| IS THE ENTITY A RESIDENT OF THE REPUBLIC OF SOUTH AFRICA (RSA)? YES NO DOES THE ENTITY HAVE A BRANCH IN THE RSA? YES NO DOES THE ENTITY HAVE A PERMANENT ESTABLISHMENT IN THE RSA? YES NO DOES THE ENTITY HAVE ANY SOURCE OF INCOME IN THE RSA? YES NO IS THE ENTITY LIABLE IN THE RSA FOR ANY FORM OF TAXATION? YES NO IF THE ANSWER IS “NO” TO ALL OF THE ABOVE, THEN IT IS NOT A REQUIREMENT TO REGISTER FOR A TAX COMPLIANCE STATUS SYSTEM PIN CODE FROM THE SOUTH AFRICAN REVENUE SERVICE (SARS) AND IF NOT REGISTER AS PER 2.3 BELOW. |  |  |  |  |  |  |  |  |

# PART B

TERMS AND CONDITIONS FOR BIDDING

- BID SUBMISSION:

- BIDS MUST BE DELIVERED BY THE STIPULATED TIME TO THE CORRECT ADDRESS. LATE BIDS WILL NOT BE ACCEPTED FOR CONSIDERATION. - ALL BIDS MUST BE SUBMITTED ON THE OFFICIAL FORMS PROVIDED (NOT TO BE RE-TYPED) OR IN THE MANNER PRESCRIBED IN THE BID DOCUMENT. - THIS BID IS SUBJECT TO THE PREFERENTIAL PROCUREMENT POLICY FRAMEWORK ACT, 2000 AND THE PREFERENTIAL PROCUREMENT REGULATIONS, THE GENERAL CONDITIONS OF CONTRACT (GCC) AND, IF APPLICABLE, ANY OTHER SPECIAL CONDITIONS OF CONTRACT. - THE SUCCESSFUL BIDDER WILL BE REQUIRED TO FILL IN AND SIGN A WRITTEN CONTRACT FORM (SBD7).

- TAX COMPLIANCE REQUIREMENTS

- BIDDERS MUST ENSURE COMPLIANCE WITH THEIR TAX OBLIGATIONS. - BIDDERS ARE REQUIRED TO SUBMIT THEIR UNIQUE PERSONAL IDENTIFICATION NUMBER (PIN) ISSUED BY SARS TO ENABLE THE ORGAN OF STATE TO VERIFY THE TAXPAYER’S PROFILE AND TAX STATUS. - APPLICATION FOR TAX COMPLIANCE STATUS (TCS) PIN MAY BE MADE VIA E-FILING THROUGH THE SARS WEBSITE WWW.SARS.GOV.ZA. - BIDDERS MAY ALSO SUBMIT A PRINTED TCS CERTIFICATE TOGETHER WITH THE BID. - IN BIDS WHERE CONSORTIA / JOINT VENTURES / SUB-CONTRACTORS ARE INVOLVED; EACH PARTY MUST SUBMIT A SEPARATE TCS CERTIFICATE / PIN / CSD NUMBER. - WHERE NO TCS PIN IS AVAILABLE BUT THE BIDDER IS REGISTERED ON THE CENTRAL SUPPLIER DATABASE (CSD), A CSD NUMBER MUST BE PROVIDED. - NO BIDS WILL BE CONSIDERED FROM PERSONS IN THE SERVICE OF THE STATE, COMPANIES WITH DIRECTORS WHO ARE PERSONS IN THE SERVICE OF THE STATE, OR CLOSE CORPORATIONS WITH MEMBERS PERSONS IN THE SERVICE OF THE STATE.”

NB: FAILURE TO PROVIDE / OR COMPLY WITH ANY OF THE ABOVE PARTICULARS MAY RENDER THE BID INVALID.

SIGNATURE OF BIDDER:					……………………………………………

CAPACITY UNDER WHICH THIS BID IS SIGNED:		……………………………………………

(Proof of authority must be submitted e.g. company resolution)

DATE:							……………………………

# Version 1 of 2023

ANNEXURE

C

SBD 3.3 PRICING SCHEDULE

UMALUSI (25-26) T0004

Appointment of a service provider for the renovations and alterations to the existing Umalusi house

(Professional Services)

NAME OF BIDDER: …………………………………………………………………………………………………………………… CLOSING TIME at 12:00 PM

OFFER TO BE VALID FOR 180 DAYS FROM THE CLOSING DATE OF BID.

ITEM 		DESCRIPTION		BID PRICE IN RSA CURRENCY

NO				INCLUSIVE OF **ALL APPLICABLE TAXES

ANNEXURE

D

SBD 4

BIDDER’S DISCLOSURE

- PURPOSE OF THE FORM

Any person (natural or juristic) may make an offer or offers in terms of this invitation to bid. In line with the principles of transparency, accountability, impartiality, and ethics as enshrined in the Constitution of the Republic of South Africa and further expressed in various pieces of legislation, it is required for the bidder to make this declaration in respect of the details required hereunder.

Where a person/s are listed in the Register for Tender Defaulters and / or the List of Restricted Suppliers, that person will automatically be disqualified from the bid process.

- Bidder’s declaration

2.1 	Is the bidder, or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest in the enterprise,	employed by the state?						YES/NO

2.1.1	If so, furnish particulars of the names, individual identity numbers, and, if applicable, state employee numbers of sole proprietor/ directors / trustees / shareholders / members/ partners or any person having a controlling interest in the enterprise, in table below.

| Full Name | Identity Number | Name of State institution |
| --- | --- | --- |

2.2 Do you, or any person connected with the bidder, have a relationship with any person who is employed by the procuring institution? YES/NO

2.2.1     If so, furnish particulars:

……………………………………………………………………………………

……………………………………………………………………………………

2.3 	Does the bidder or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest in the enterprise have any interest in any other related enterprise whether or not they are bidding for this contract?				YES/NO

    - If so, furnish particulars:

…………………………………………………………………………….

…………………………………………………………………………….

- DECLARATION

I, the undersigned, (name)……………………………………………………………………. in submitting the accompanying bid, do hereby make the following statements that I certify to be true and complete in every respect:

3.1 	I have read and I understand the contents of this disclosure;

3.2	I understand that the accompanying bid will be disqualified if this disclosure is found not to be true and complete in every respect;

3.3 	The bidder has arrived at the accompanying bid independently from, and without consultation, communication, agreement or arrangement with any competitor. However, communication between partners in a joint venture or consortium will not be construed as collusive bidding.

3.4 	In addition, there have been no consultations, communications, agreements or arrangements with any competitor regarding the quality, quantity, specifications, prices, including methods, factors or formulas used to calculate prices, market allocation, the intention or decision to submit or not to submit the bid, bidding with the intention not to win the bid and conditions or delivery particulars of the products or services to which this bid invitation relates.

3.4	The terms of the accompanying bid have not been, and will not be, disclosed by the bidder, directly or indirectly, to any competitor, prior to the date and time of the official bid opening or of the awarding of the contract.

3.5 	There have been no consultations, communications, agreements, or arrangements made by the bidder with any official of the procuring institution in relation to this procurement process prior to and during the bidding process except to provide clarification on the bid submitted where so required by the institution; and the bidder was not involved in the drafting of the specifications or terms of reference for this bid.

  - I am aware that, in addition and without prejudice to any other remedy provided to combat any restrictive practices related to bids and contracts, bids that are suspicious will be reported to the Competition Commission for investigation and possible imposition of administrative penalties in terms of section 59 of the Competition Act No 89 of 1998 and or may be reported to the National Prosecuting Authority (NPA) for criminal investigation and or may be restricted from conducting business with the public sector for a period not exceeding ten (10) years in terms of the Prevention and Combating of Corrupt Activities Act No 12 of 2004 or any other applicable legislation.

I CERTIFY THAT THE INFORMATION FURNISHED IN PARAGRAPHS 1, 2 and 3 ABOVE IS CORRECT.

I ACCEPT THAT THE STATE MAY REJECT THE BID OR ACT AGAINST ME IN TERMS OF PARAGRAPH 6 OF PFMA SCM INSTRUCTION 03 OF 2021/22 ON PREVENTING AND COMBATING ABUSE IN THE SUPPLY CHAIN MANAGEMENT SYSTEM SHOULD THIS DECLARATION PROVE TO BE FALSE.

………………………………	 ..……………………………………………

Signature	                          Date

………………………………	………………………………………………

Position 	Name of bidder

ANNEXURE

E

# SBD 6.1 – Preference Points Claim Form in terms of the Preferential

# Procurement Regulations 2022

This preference form must form part of all tenders invited.  It contains general information and serves as a claim form for preference points for specific goals.

NB:	BEFORE COMPLETING THIS FORM, TENDERERS MUST STUDY THE GENERAL CONDITIONS, DEFINITIONS AND DIRECTIVES APPLICABLE IN RESPECT OF THE TENDER AND PREFERENTIAL PROCUREMENT REGULATIONS, 2022

- GENERAL CONDITIONS

  - The following preference point systems are applicable to invitations to tender:

- the 80/20 system for requirements with a Rand value of up to R50 000 000 (all applicable taxes included); and

- the 90/10 system for requirements with a Rand value above R50 000 000 (all applicable taxes included).

  - To be completed by the organ of state

(delete whichever is not applicable for this tender).

- The applicable preference point system for this tender is the 80/20 preference point system.

- The 80/20 preference point system will be applicable in this tender.

  - Points for this tender (even in the case of a tender for income-generating contracts) shall be awarded for:

- Price; and

- Specific Goals.

  - To be completed by the organ of state:

The maximum points for this tender are allocated as follows:

|  | POINTS |
| --- | --- |
| PRICE | 80 |
| SPECIFIC GOALS | 20 |
| Total points for Price and SPECIFIC GOALS | 100 |

  - Failure on the part of a tenderer to submit proof or documentation required in terms of this tender to claim points for specific goals with the tender, will be interpreted to mean that preference points for specific goals are not claimed.

  - The organ of state reserves the right to require of a tenderer, either before a tender is adjudicated or at any time subsequently, to substantiate any claim in regard to preferences, in any manner required by the organ of state.

- DEFINITIONS

- “tender” means a written offer in the form determined by an organ of state in response to an invitation to provide goods or services through price quotations, competitive tendering process or any other method envisaged in legislation;

- “price” means an amount of money tendered for goods or services, and includes all applicable taxes less all unconditional discounts;

- “rand value” means the total estimated value of a contract in Rand, calculated at the time of bid invitation, and includes all applicable taxes;

- “tender for income-generating contracts” means a written offer in the form determined by an organ of state in response to an invitation for the origination of income-generating contracts through any method envisaged in legislation that will result in a legal agreement between the organ of state and a third party that produces revenue for the organ of state, and includes, but is not limited to, leasing and disposal of assets and concession contracts, excluding direct sales and disposal of assets through public auctions; and

- “the Act” means the Preferential Procurement Policy Framework Act, 2000 (Act No. 5 of 2000).

- FORMULAE FOR PROCUREMENT OF GOODS AND SERVICES

  - POINTS AWARDED FOR PRICE

3.1.1   THE 80/20 POINT SYSTEMS

A maximum of 80 or 90 points is allocated for price on the following basis:

# 80/20

Ps=801-Pt-PminPmin

Where

Ps	=	Points scored for price of tender under consideration

Pt	=	Price of tender under consideration

Pmin	=	Price of lowest acceptable tender

  - FORMULAE FOR DISPOSAL OR LEASING OF STATE ASSETS AND INCOME GENERATING PROCUREMENT

    - POINTS AWARDED FOR PRICE

A maximum of 80 points is allocated for price on the following basis:

# 80/20

Ps=801+Pt-PmaxPmax

Where

Ps	=	Points scored for price of tender under consideration

Pt	=	Price of tender under consideration

Pmax	=	Price of highest acceptable tender

- POINTS AWARDED FOR SPECIFIC GOALS

  - In terms of Regulation 4(2); 5(2); 6(2) and 7(2) of the Preferential Procurement Regulations, preference points must be awarded for specific goals stated in the tender. For the purposes of this tender the tenderer will be allocated points based on the goals stated in table 1 below as may be supported by proof/ documentation stated in the conditions of this tender:

  - In cases where organs of state intend to use Regulation 3(2) of the Regulations, which states that, if it is unclear whether the 80/20 or 90/10 preference point system applies, an organ of state must, in the tender documents, stipulate in the case of—

- an invitation for tender for income-generating contracts, that either the 80/20 or 90/10 preference point system will apply and that the highest acceptable tender will be used to determine the applicable preference point system; or

- any other invitation for tender, that either the 80/20 or 90/10 preference point system will apply and that the lowest acceptable tender will be used to determine the applicable preference point system,

then the organ of state must indicate the points allocated for specific goals for both the 90/10 and 80/20 preference point system.

Table 1: Specific goals for the tender and points claimed are indicated per the table below.

(Note to organs of state: Where either the 90/10 or 80/20 preference point system is applicable, corresponding points must also be indicated as such.

Note to tenderers: The tenderer must indicate how they claim points for each preference point system.)

| Specific goals and maximum allocated points in terms this tender | Ownership percentage | Number of points allocated (80/20 system) | Number of points claimed (80/20 system) (To be completed by the tenderer) |
| --- | --- | --- | --- |
| Black people (Max 5 points) | 50% or more | 5 |  |
|  | 30% to 49% | 3 |  |
|  | 20% to 29% | 2 |  |
|  | 1% to 19% | 1 |  |
| Youth (Max 5 points) | 15% or more | 5 |  |
|  | 10% to 14% | 3 |  |
|  | 1% to 9% | 1 |  |
| Women (Max 5 points) | 15% or more | 5 |  |
|  | 10% to 14% | 3 |  |
|  | 1% to 9% | 1 |  |
| People with disabilities (Max 5 points) | 5% or more | 5 |  |
|  | 3% to 4% | 3 |  |
|  | 1% to 2% | 1 |  |

DECLARATION WITH REGARD TO COMPANY/FIRM

  - Name of company/firm…………………………………………………………………….

  - Company registration number: …………………………………………………………...

  - TYPE OF COMPANY/ FIRM

  - Partnership/Joint Venture / Consortium

  - One-person business/sole propriety

  - Close corporation

  - Public Company

  - Personal Liability Company

  - (Pty) Limited

  - Non-Profit Company

  - State Owned Company

[Tick applicable box]

  - I, the undersigned, who is duly authorised to do so on behalf of the company/firm, certify that the points claimed, based on the specific goals as advised in the tender, qualifies the company/ firm for the preference(s) shown and I acknowledge that:

- The information furnished is true and correct;

- The preference points claimed are in accordance with the General Conditions as indicated in paragraph 1 of this form;

- In the event of a contract being awarded as a result of points claimed as shown in paragraphs 1.4 and 4.2, the contractor may be required to furnish documentary proof to the satisfaction of the organ of state that the claims are correct;

- If the specific goals have been claimed or obtained on a fraudulent basis or any of the conditions of contract have not been fulfilled, the organ of state may, in addition to any other remedy it may have –

  - disqualify the person from the tendering process;

  - recover costs, losses or damages it has incurred or suffered as a result of that person’s conduct;

  - cancel the contract and claim any damages which it has suffered as a result of having to make less favourable arrangements due to such cancellation;

  - recommend that the tenderer or contractor, its shareholders and directors, or only the shareholders and directors who acted on a fraudulent basis, be restricted from obtaining business from any organ of state for a period not exceeding 10 years, after the audi alteram partem (hear the other side) rule has been applied; and

  - forward the matter for criminal prosecution, if deemed necessary.

……………………………………….

SIGNATURE(S) OF TENDERER(S)

SURNAME AND NAME:	 ……………………………………………………….

DATE:			………………………………………………………

ADDRESS:		………………………………………………………

………………………………………………………

………………………………………………………

………………………………………………………

Name of Bidder

ANNEXURE

F

Republic of South Africa

GOVERNMENT PROCUREMENT: GENERAL CONDITIONS OF CONTRACT

July 2010

NOTES

The purpose of this document is to:

- Draw special attention to certain general conditions applicable to government bids, contracts and orders; and

- To ensure that clients be familiar with regard to the rights and obligations of all parties involved in doing business with government.

In this document words in the singular also mean in the plural and vice versa and words in the masculine also mean in the feminine and neuter.

  - The General Conditions of Contract will form part of all bid documents and may not be amended.

  - Special Conditions of Contract (SCC) relevant to a specific bid, should be compiled separately for every bid (if (applicable) and will supplement the General Conditions of Contract. Whenever there is a conflict, the provisions in the SCC shall prevail.

TABLE OF CLAUSES

- Definitions

- Application

- General

- Standards

- Use of contract documents and information; inspection

- Patent rights

- Performance security

- Inspections, tests and analysis

- Packing

- Delivery and documents

- Insurance

- Transportation

- Incidental services

- Spare parts

- Warranty

- Payment

- Prices

- Contract amendments

- Assignment

- Subcontracts

- Delays in the supplier’s performance

- Penalties

- Termination for default

- Dumping and countervailing duties

- Force Majeure

- Termination for insolvency

- Settlement of disputes

- Limitation of liability

- Governing language

- Applicable law

- Notices

- Taxes and duties

- National Industrial Participation Programme (NIPP)

- Prohibition of restrictive practices

General Conditions of Contract

| 1. Definitions | - The following terms shall be interpreted as indicated: - “Closing time” means the date and hour specified in the bidding documents for the receipt of bids. - “Contract” means the written agreement entered into between the purchaser and the supplier, as recorded in the contract form signed by the parties, including all attachments and appendices thereto and all documents incorporated by reference therein. - “Contract price” means the price payable to the supplier under the contract for the full and proper performance of his contractual obligations. - “Corrupt practice” means the offering, giving, receiving, or soliciting of any thing of value to influence the action of a public official in the procurement process or in contract execution. - "Countervailing duties" are imposed in cases where an enterprise abroad is subsidized by its government and encouraged to market its products internationally. - “Country of origin” means the place where the goods were mined, grown or produced or from which the services are supplied. Goods are produced when, through manufacturing, processing or substantial and major assembly of components, a commercially recognized new product results that is substantially different in basic characteristics or in purpose or utility from its components. - “Day” means calendar day. - “Delivery” means delivery in compliance of the conditions of the contract or order. - “Delivery ex stock” means immediate delivery directly from stock actually on hand. - “Delivery into consignees store or to his site” means delivered and unloaded in the specified store or depot or on the specified site in compliance with the conditions of the contract or order, the supplier bearing all risks and charges involved until the supplies are so delivered and a valid receipt is obtained. - "Dumping" occurs when a private enterprise abroad market its goods on own initiative in the RSA at lower prices than that of the country of |
| --- | --- |

origin and which have the potential to harm the local industries in the RSA.

  - ”Force majeure” means an event beyond the control of the supplier and not involving the supplier’s fault or negligence and not foreseeable. Such events may include, but is not restricted to, acts of the purchaser in its sovereign capacity, wars or revolutions, fires, floods, epidemics, quarantine restrictions and freight embargoes.

  - “Fraudulent practice” means a misrepresentation of facts in order to influence a procurement process or the execution of a contract to the detriment of any bidder, and includes collusive practice among bidders (prior to or after bid submission) designed to establish bid prices at artificial non-competitive levels and to deprive the bidder of the benefits of free and open competition.

  - “GCC” means the General Conditions of Contract.

  - “Goods” means all of the equipment, machinery, and/or other materials that the supplier is required to supply to the purchaser under the

contract.

  - “Imported content” means that portion of the bidding price represented by the cost of components, parts or materials which have been or are still to be imported (whether by the supplier or his subcontractors) and which costs are inclusive of the costs abroad, plus freight and other direct importation costs such as landing costs, dock dues, import duty, sales duty or other similar tax or duty at the South African place of entry as well as transportation and handling charges to the factory in the Republic where the supplies covered by the bid will be manufactured.

  - “Local content” means that portion of the bidding price which is not included in the imported content provided that local manufacture does take place.

  - “Manufacture” means the production of products in a factory using labour, materials, components and machinery and includes other related value-adding activities.

  - “Order” means an official written order issued for the supply of goods or works or the rendering of a service.

  - “Project site,” where applicable, means the place indicated in bidding documents.

  - “Purchaser” means the organization purchasing the goods.

  - “Republic” means the Republic of South Africa.

  - “SCC” means the Special Conditions of Contract.

  - “Services” means those functional services ancillary to the supply of the goods, such as transportation and any other incidental services, such as installation, commissioning, provision of technical assistance,

training, catering, gardening, security, maintenance and other such obligations of the supplier covered under the contract.

  - “Written” or “in writing” means handwritten in ink or any form of electronic or mechanical writing.

| 2. Application | - These general conditions are applicable to all bids, contracts and orders including bids for functional and professional services, sales, hiring, letting and the granting or acquiring of rights, but excluding immovable property, unless otherwise indicated in the bidding documents. - Where applicable, special conditions of contract are also laid down to cover specific supplies, services or works. - Where such special conditions of contract are in conflict with these general conditions, the special conditions shall apply. |
| --- | --- |
| 3. General | - Unless otherwise indicated in the bidding documents, the purchaser shall not be liable for any expense incurred in the preparation and submission of a bid. Where applicable a non-refundable fee for documents may be charged. - With certain exceptions, invitations to bid are only published in the Government Tender Bulletin. The Government Tender Bulletin may be obtained directly from the Government Printer, Private Bag X85, Pretoria 0001, or accessed electronically from www.treasury.gov.za |
| 4. Standards | 4.1 The goods supplied shall conform to the standards mentioned in the bidding documents and specifications. |
| 5. Use of contract documents and information; inspection. | - The supplier shall not, without the purchaser’s prior written consent, disclose the contract, or any provision thereof, or any specification, plan, drawing, pattern, sample, or information furnished by or on behalf of the purchaser in connection therewith, to any person other than a person employed by the supplier in the performance of the contract. Disclosure to any such employed person shall be made in confidence and shall extend only so far as may be necessary for purposes of such performance. - The supplier shall not, without the purchaser’s prior written consent, make use of any document or information mentioned in GCC clause 5.1 except for purposes of performing the contract. - Any document, other than the contract itself mentioned in GCC clause 5.1 shall remain the property of the purchaser and shall be returned (all copies) to the purchaser on completion of the supplier’s performance under the contract if so required by the purchaser. 5.4 The supplier shall permit the purchaser to inspect the supplier’s records relating to the performance of the supplier and to have them audited by auditors appointed by the purchaser, if so required by the purchaser. |
| 6. Patent rights | 6.1 The supplier shall indemnify the purchaser against all third-party claims of infringement of patent, trademark, or industrial design rights |

|  | arising from use of the goods or any part thereof by the purchaser. |
| --- | --- |
| 7. Performance security | - Within thirty (30) days of receipt of the notification of contract award, the successful bidder shall furnish to the purchaser the performance security of the amount specified in SCC. - The proceeds of the performance security shall be payable to the purchaser as compensation for any loss resulting from the supplier’s failure to complete his obligations under the contract. - The performance security shall be denominated in the currency of the contract, or in a freely convertible currency acceptable to the purchaser and shall be in one of the following forms: - a bank guarantee or an irrevocable letter of credit issued by a reputable bank located in the purchaser’s country or abroad, acceptable to the purchaser, in the form provided in the bidding documents or another form acceptable to the purchaser; or - a cashier’s or certified cheque - The performance security will be discharged by the purchaser and returned to the supplier not later than thirty (30) days following the date of completion of the supplier’s performance obligations under the contract, including any warranty obligations, unless otherwise specified in SCC. |
| 8. Inspections, tests and analyses | - All pre-bidding testing will be for the account of the bidder. - If it is a bid condition that supplies to be produced or services to be rendered should at any stage during production or execution or on completion be subject to inspection, the premises of the bidder or contractor shall be open, at all reasonable hours, for inspection by a representative of the Department or an organization acting on behalf of the Department. - If there are no inspection requirements indicated in the bidding documents and no mention is made in the contract, but during the contract period it is decided that inspections shall be carried out, the purchaser shall itself make the necessary arrangements, including payment arrangements with the testing authority concerned. - If the inspections, tests and analyses referred to in clauses 8.2 and 8.3 show the supplies to be in accordance with the contract requirements, the cost of the inspections, tests and analyses shall be defrayed by the purchaser. - Where the supplies or services referred to in clauses 8.2 and 8.3 do not comply with the contract requirements, irrespective of whether such supplies or services are accepted or not, the cost in connection with these inspections, tests or analyses shall be defrayed by the supplier. - Supplies and services which are referred to in clauses 8.2 and 8.3 and which do not comply with the contract requirements may be rejected. |

|  | - Any contract supplies may on or after delivery be inspected, tested or analyzed and may be rejected if found not to comply with the requirements of the contract. Such rejected supplies shall be held at the cost and risk of the supplier who shall, when called upon, remove them immediately at his own cost and forthwith substitute them with supplies which do comply with the requirements of the contract. Failing such removal the rejected supplies shall be returned at the suppliers cost and risk. Should the supplier fail to provide the substitute supplies forthwith, the purchaser may, without giving the supplier further opportunity to substitute the rejected supplies, purchase such supplies as may be necessary at the expense of the supplier. - The provisions of clauses 8.4 to 8.7 shall not prejudice the right of the purchaser to cancel the contract on account of a breach of the conditions thereof, or to act in terms of Clause 23 of GCC. |
| --- | --- |
| 9. Packing | - The supplier shall provide such packing of the goods as is required to prevent their damage or deterioration during transit to their final destination, as indicated in the contract. The packing shall be sufficient to withstand, without limitation, rough handling during transit and exposure to extreme temperatures, salt and precipitation during transit, and open storage. Packing, case size and weights shall take into consideration, where appropriate, the remoteness of the goods’ final destination and the absence of heavy handling facilities at all points in transit. - The packing, marking, and documentation within and outside the packages shall comply strictly with such special requirements as shall be expressly provided for in the contract, including additional requirements, if any, specified in SCC, and in any subsequent instructions ordered by the purchaser. |
| 10. Delivery and documents | - Delivery of the goods shall be made by the supplier in accordance with the terms specified in the contract. The details of shipping and/or other documents to be furnished by the supplier are specified in SCC. - Documents to be submitted by the supplier are specified in SCC. |
| 11. Insurance | 11.1 The goods supplied under the contract shall be fully insured in a freely convertible currency against loss or damage incidental to manufacture or acquisition, transportation, storage and delivery in the manner specified in the SCC. |
| 12. Transportation | 12.1 Should a price other than an all-inclusive delivered price be required, this shall be specified in the SCC. |
| 13. Incidental services | - The supplier may be required to provide any or all of the following services, including additional services, if any, specified in SCC: - performance or supervision of on-site assembly and/or commissioning of the supplied goods; - furnishing of tools required for assembly and/or maintenance of the supplied goods; - furnishing of a detailed operations and maintenance manual |

|  | for each appropriate unit of the supplied goods; - performance or supervision or maintenance and/or repair of the supplied goods, for a period of time agreed by the parties, provided that this service shall not relieve the supplier of any warranty obligations under this contract; and - training of the purchaser’s personnel, at the supplier’s plant and/or on-site, in assembly, start-up, operation, maintenance, and/or repair of the supplied goods. 13.2 Prices charged by the supplier for incidental services, if not included in the contract price for the goods, shall be agreed upon in advance by the parties and shall not exceed the prevailing rates charged to other parties by the supplier for similar services. |
| --- | --- |
| 14. Spare parts | - As specified in SCC, the supplier may be required to provide any or all of the following materials, notifications, and information pertaining to spare parts manufactured or distributed by the supplier: - such spare parts as the purchaser may elect to purchase from the supplier, provided that this election shall not relieve the supplier of any warranty obligations under the contract; and - in the event of termination of production of the spare parts: - Advance notification to the purchaser of the pending termination, in sufficient time to permit the purchaser to procure needed requirements; and - following such termination, furnishing at no cost to the purchaser, the blueprints, drawings, and specifications of the spare parts, if requested. |
| 15. Warranty | - The supplier warrants that the goods supplied under the contract are new, unused, of the most recent or current models, and that they incorporate all recent improvements in design and materials unless provided otherwise in the contract. The supplier further warrants that all goods supplied under this contract shall have no defect, arising from design, materials, or workmanship (except when the design and/or material is required by the purchaser’s specifications) or from any act or omission of the supplier, that may develop under normal use of the supplied goods in the conditions prevailing in the country of final destination. - This warranty shall remain valid for twelve (12) months after the goods, or any portion thereof as the case may be, have been delivered to and accepted at the final destination indicated in the contract, or for eighteen (18) months after the date of shipment from the port or place of loading in the source country, whichever period concludes earlier, unless specified otherwise in SCC. - The purchaser shall promptly notify the supplier in writing of any claims arising under this warranty. - Upon receipt of such notice, the supplier shall, within the period specified in SCC and with all reasonable speed, repair or replace the defective goods or parts thereof, without costs to the purchaser. - If the supplier, having been notified, fails to remedy the defect(s) |

|  | within the period specified in SCC, the purchaser may proceed to take such remedial action as may be necessary, at the supplier’s risk and expense and without prejudice to any other rights which the purchaser may have against the supplier under the contract. |
| --- | --- |
| 16. Payment | - The method and conditions of payment to be made to the supplier under this contract shall be specified in SCC. - The supplier shall furnish the purchaser with an invoice accompanied by a copy of the delivery note and upon fulfillment of other obligations stipulated in the contract. - Payments shall be made promptly by the purchaser, but in no case later than thirty (30) days after submission of an invoice or claim by the supplier. - Payment will be made in Rand unless otherwise stipulated in SCC. |
| 17. Prices | 17.1 Prices charged by the supplier for goods delivered and services performed under the contract shall not vary from the prices quoted by the supplier in his bid, with the exception of any price adjustments authorized in SCC or in the purchaser’s request for bid validity extension, as the case may be. |
| 18. Contract amendments | 18.1 No variation in or modification of the terms of the contract shall be made except by written amendment signed by the parties concerned. |
| 19. Assignment | 19.1 The supplier shall not assign, in whole or in part, its obligations to perform under the contract, except with the purchaser’s prior written consent. |
| 20. Subcontracts | 20.1 The supplier shall notify the purchaser in writing of all subcontracts awarded under this contracts if not already specified in the bid. Such notification, in the original bid or later, shall not relieve the supplier from any liability or obligation under the contract. |
| 21. Delays in the supplier’s performance | 21.1 Delivery of the goods and performance of services shall be made by the supplier in accordance with the time schedule prescribed by the purchaser in the contract. |
|  | 21.2 If at any time during performance of the contract, the supplier or its subcontractor(s) should encounter conditions impeding timely delivery of the goods and performance of services, the supplier shall promptly notify the purchaser in writing of the fact of the delay, its likely duration and its cause(s). As soon as practicable after receipt of the supplier’s notice, the purchaser shall evaluate the situation and may at his discretion extend the supplier’s time for performance, with or without the imposition of penalties, in which case the extension shall be ratified by the parties by amendment of contract. 21.3 No provision in a contract shall be deemed to prohibit the obtaining of supplies or services from a national department, provincial department, or a local authority. |
|  | 21.4 The right is reserved to procure outside of the contract small quantities |

|  | or to have minor essential services executed if an emergency arises, the supplier’s point of supply is not situated at or near the place where the supplies are required, or the supplier’s services are not readily available. |
| --- | --- |
|  | 21.5 Except as provided under GCC Clause 25, a delay by the supplier in the performance of its delivery obligations shall render the supplier liable to the imposition of penalties, pursuant to GCC Clause 22, unless an extension of time is agreed upon pursuant to GCC Clause 21.2 without the application of penalties. 21.6 Upon any delay beyond the delivery period in the case of a supplies contract, the purchaser shall, without canceling the contract, be entitled to purchase supplies of a similar quality and up to the same quantity in substitution of the goods not supplied in conformity with the contract and to return any goods delivered later at the supplier’s expense and risk, or to cancel the contract and buy such goods as may be required to complete the contract and without prejudice to his other rights, be entitled to claim damages from the supplier. |
| 22. Penalties | 22.1 Subject to GCC Clause 25, if the supplier fails to deliver any or all of the goods or to perform the services within the period(s) specified in the contract, the purchaser shall, without prejudice to its other remedies under the contract, deduct from the contract price, as a penalty, a sum calculated on the delivered price of the delayed goods or unperformed services using the current prime interest rate calculated for each day of the delay until actual delivery or performance. The purchaser may also consider termination of the contract pursuant to GCC Clause 23. |
| 23. Termination for default | - The purchaser, without prejudice to any other remedy for breach of contract, by written notice of default sent to the supplier, may terminate this contract in whole or in part: - if the supplier fails to deliver any or all of the goods within the period(s) specified in the contract, or within any extension thereof granted by the purchaser pursuant to GCC Clause 21.2; - if the Supplier fails to perform any other obligation(s) under the contract; or - if the supplier, in the judgment of the purchaser, has engaged in corrupt or fraudulent practices in competing for or in executing the contract. - In the event the purchaser terminates the contract in whole or in part, the purchaser may procure, upon such terms and in such manner as it deems appropriate, goods, works or services similar to those undelivered, and the supplier shall be liable to the purchaser for any excess costs for such similar goods, works or services. However, the supplier shall continue performance of the contract to the extent not terminated. - Where the purchaser terminates the contract in whole or in part, the purchaser may decide to impose a restriction penalty on the supplier by prohibiting such supplier from doing business with the public sector for a period not exceeding 10 years. |

|  | - If a purchaser intends imposing a restriction on a supplier or any person associated with the supplier, the supplier will be allowed a time period of not more than fourteen (14) days to provide reasons why the envisaged restriction should not be imposed. Should the supplier fail to respond within the stipulated fourteen (14) days the purchaser may regard the intended penalty as not objected against and may impose it on the supplier. - Any restriction imposed on any person by the Accounting Officer / Authority will, at the discretion of the Accounting Officer / Authority, also be applicable to any other enterprise or any partner, manager, director or other person who wholly or partly exercises or exercised or may exercise control over the enterprise of the first-mentioned person, and with which enterprise or person the first-mentioned person, is or was in the opinion of the Accounting Officer / Authority actively associated. - If a restriction is imposed, the purchaser must, within five (5) working days of such imposition, furnish the National Treasury, with the following information: - the name and address of the supplier and / or person restricted by the purchaser; - the date of commencement of the restriction - the period of restriction; and - the reasons for the restriction. These details will be loaded in the National Treasury’s central database of suppliers or persons prohibited from doing business with the public sector. - If a court of law convicts a person of an offence as contemplated in sections 12 or 13 of the Prevention and Combating of Corrupt Activities Act, No. 12 of 2004, the court may also rule that such person’s name be endorsed on the Register for Tender Defaulters. When a person’s name has been endorsed on the Register, the person will be prohibited from doing business with the public sector for a period not less than five years and not more than 10 years. The National Treasury is empowered to determine the period of restriction and each case will be dealt with on its own merits. According to section 32 of the Act the Register must be open to the public. The Register can be perused on the National Treasury website. |
| --- | --- |
| 24. Anti-dumping | 24.1 When, after the date of bid, provisional payments are required, or anti- |
| and countervailing duties and rights | dumping or countervailing duties are imposed, or the amount of a provisional payment or anti-dumping or countervailing right is |
|  | increased in respect of any dumped or subsidized import, the State is |
|  | not liable for any amount so required or imposed, or for the amount of |
|  | any such increase. When, after the said date, such a provisional |
|  | payment is no longer required or any such anti-dumping or |
|  | countervailing right is abolished, or where the amount of such |
|  | provisional payment or any such right is reduced, any such favourable |
|  | difference shall on demand be paid forthwith by the contractor to the |
|  | State or the State may deduct such amounts from moneys (if any) |
|  | which may otherwise be due to the contractor in regard to supplies or |
|  | services which he delivered or rendered, or is to deliver or render in |

|  | terms of the contract or any other contract or any other amount which may be due to him |
| --- | --- |
| 25. Force Majeure | - Notwithstanding the provisions of GCC Clauses 22 and 23, the supplier shall not be liable for forfeiture of its performance security, damages, or termination for default if and to the extent that his delay in performance or other failure to perform his obligations under the contract is the result of an event of force majeure. - If a force majeure situation arises, the supplier shall promptly notify the purchaser in writing of such condition and the cause thereof. Unless otherwise directed by the purchaser in writing, the supplier shall continue to perform its obligations under the contract as far as is reasonably practical, and shall seek all reasonable alternative means for performance not prevented by the force majeure event. |
| 26. Termination for insolvency | 26.1 The purchaser may at any time terminate the contract by giving written notice to the supplier if the supplier becomes bankrupt or otherwise insolvent. In this event, termination will be without compensation to the supplier, provided that such termination will not prejudice or affect any right of action or remedy which has accrued or will accrue thereafter to the purchaser. |
| 27. Settlement of Disputes | 27.1 If any dispute or difference of any kind whatsoever arises between the purchaser and the supplier in connection with or arising out of the contract, the parties shall make every effort to resolve amicably such dispute or difference by mutual consultation. |
|  | 27.2 If, after thirty (30) days, the parties have failed to resolve their dispute or difference by such mutual consultation, then either the purchaser or the supplier may give notice to the other party of his intention to commence with mediation. No mediation in respect of this matter may be commenced unless such notice is given to the other party. |
|  | 27.3 Should it not be possible to settle a dispute by means of mediation, it may be settled in a South African court of law. |
|  | 27.4 Mediation proceedings shall be conducted in accordance with the rules of procedure specified in the SCC. |
|  | 27.5 Notwithstanding any reference to mediation and/or court proceedings herein, |
|  | - the parties shall continue to perform their respective obligations under the contract unless they otherwise agree; and - the purchaser shall pay the supplier any monies due the supplier. |
| 28. Limitation of liability | - Except in cases of criminal negligence or willful misconduct, and in the case of infringement pursuant to Clause 6; - the supplier shall not be liable to the purchaser, whether in contract, tort, or otherwise, for any indirect or consequential loss or damage, loss of use, loss of production, or loss of profits or interest costs, provided that this exclusion shall not apply to any obligation of the supplier to pay penalties and/or damages to the purchaser; and |

|  | (b) the aggregate liability of the supplier to the purchaser, whether under the contract, in tort or otherwise, shall not exceed the total contract price, provided that this limitation shall not apply to the cost of repairing or replacing defective equipment. |
| --- | --- |
| 29. Governing language | 29.1 The contract shall be written in English. All correspondence and other documents pertaining to the contract that is exchanged by the parties shall also be written in English. |
| 30. Applicable law | 30.1 The contract shall be interpreted in accordance with South African laws, unless otherwise specified in SCC. |
| 31. Notices | - Every written acceptance of a bid shall be posted to the supplier concerned by registered or certified mail and any other notice to him shall be posted by ordinary mail to the address furnished in his bid or to the address notified later by him in writing and such posting shall be deemed to be proper service of such notice - The time mentioned in the contract documents for performing any act after such aforesaid notice has been given, shall be reckoned from the date of posting of such notice. |
| 32. Taxes and duties | 32.1 A foreign supplier shall be entirely responsible for all taxes, stamp duties, license fees, and other such levies imposed outside the purchaser’s country. |
|  | 32.2 A local supplier shall be entirely responsible for all taxes, duties, license fees, etc., incurred until delivery of the contracted goods to the purchaser. |
|  | 32.3 No contract shall be concluded with any bidder whose tax matters are not in order. Prior to the award of a bid the Department must be in possession of a tax clearance certificate, submitted by the bidder. This certificate must be an original issued by the South African Revenue Services. |
| 33.National Industrial Participation (NIP) Programme | 33.1 The NIP Programme administered by the Department of Trade and Industry shall be applicable to all contracts that are subject to the NIP obligation. |
| 34 Prohibition of Restrictive practices | In terms of section 4 (1) (b) (iii) of the Competition Act No. 89 of 1998, as amended, an agreement between, or concerted practice by, firms, or a decision by an association of firms, is prohibited if it is between parties in a horizontal relationship and if a bidder (s) is / are or a contractor(s) was / were involved in collusive bidding (or bid rigging). |
|  | 34.2 If a bidder(s) or contractor(s), based on reasonable grounds or evidence obtained by the purchaser, has / have engaged in the restrictive practice referred to above, the purchaser may refer the matter to the Competition Commission for investigation and possible imposition of administrative penalties as contemplated in the Competition Act No. 89 of 1998. |

34.3  If a bidder(s) or contractor(s), has / have been found guilty by the Competition Commission of the restrictive practice referred to above, the purchaser may, in addition and without prejudice to any other remedy provided for, invalidate the bid(s) for such item(s) offered, and / or terminate the contract in whole or part, and / or restrict the bidder(s) or contractor(s) from conducting business with the public sector for a period not exceeding ten (10) years and / or claim damages from the bidder(s) or contractor(s) concerned.

General Conditions of Contract (revised July 2010)

ANNEXURE

G

# Company profile of the bidder

This document(s) is to be prepared and submitted by the bidders as Annexure G to their Bid.

the power, by one person or a group of persons holding the majority of the equity of an enterprise, alternatively, the person/s having the deciding vote or power to influence or to direct the course and decisions of the enterprise.

Joint venture or Consortium means an association of persons for the purpose of combining their expertise, property, capital, efforts, skill and knowledge in an activity for the execution of a contract.